# Commercial Miscellaneous Submittal Checklist and Standards

## Submittal Checklist:

### Drawings:

- Architectural Plans – Stamped and signed by an Idaho registered design professional. Plan set must include a complete code analysis.

- Site Plan – Must show property lines, exact location of the structure on the property and any existing structures on the site.

- Electrical Design and Compliance (if applicable) – Drawings must be stamped by an Idaho licensed professional. Compliance Report(s) must be signed and include all pages.

- Structural Drawings – Must be stamped, signed, and dated by an Idaho licensed professional.

### Documents:

- Project Narrative – Detailed with full scope.

- Structural Calculations – Must be stamped, signed, and dated by an Idaho licensed professional.

- Certificate of Value – Complete the Certificate of Values form to its full extent.

- Statement of Special Inspections – Only required if the project requires special inspections. If required, complete the Statement of Special Inspections form to its full extent.

### Other Information:

- ACHD – To help avoid delays, contact Ada County Highway District (ACHD) at (208) 387-6100, as you may be required to submit separately.

## Submittal Standards and File Naming Requirements:

### All drawing sheets must be submitted:

- In a PDF format

- In landscape format in the horizontal position

- With a space reserved in the upper left corner for City Approval stamps

- Drawn to scale with each sheet stating the scale

- As individual sheets

- With a file name allowing for easy identification of the drawing content

  - Example: CS – Cover Sheet; SP1 – Site Plan; S4.0 – Structural Roof Framing; E2.0 – Electrical Schedule

- As print ready, i.e., set up properly for printing with title block, no data outside the print page area, etc.

### All documents (non-drawing files) must be submitted:

- As searchable PDF files