# Commercial Addition Submittal Checklist and Standards

## Submittal Checklist:

### Drawings:

- Architectural Plans – Stamped and signed by an Idaho registered design professional. Plan set must include a complete code analysis.

- Civil Drawings OR Site Plan of Previously Constructed Utility Infrastructure – Submit PDF and CAD (if new mains/hydrants will be installed). Need to be sealed by a licensed Idaho Civil Engineer.

- Electrical Design and Compliance – Drawings must be stamped by an Idaho licensed professional. Compliance Report(s) must be signed and include all pages.

- Mechanical Design and Compliance – Drawings must be stamped by an Idaho licensed professional. Compliance Report(s) must be signed and include all pages.

- Plumbing Design – Drawings must be stamped by an Idaho licensed professional.

- Structural Drawings – Must be stamped, signed, and dated by an Idaho licensed professional.

### Documents:

- Project Narrative – Detailed with full scope.

- Energy Compliance – Report must be signed and include all pages.

- Geotechnical Soils Investigation – Must be in accordance with the IBC. Must be stamped, signed, and dated by an Idaho licensed professional engineer.

- Structural Calculations – Must be stamped, signed, and dated by an Idaho licensed professional.

- Drainage Calculations – Must be stamped, signed, and dated by an Idaho licensed professional engineer.

- Certificate of Value – Complete the Certificate of Values form to its full extent.

- Plumbing Summary – Complete the Plumbing Summary form to its full extent.

- Statement of Special Inspections – Only required if the project requires special inspections. If required, complete the Statement of Special Inspections form to its full extent.

### Other Information:

- ACHD – To help avoid delays, contact Ada County Highway District (ACHD) at (208) 387-6100, as you may be required to submit separately.

- CDHD – If your project involves the storage, handling or manufacturing of food, your plans must be reviewed and stamped “Approved” by Central District Health Department (CDHD) prior to submittal to the City. This will help avoid delays. For additional information contact CDHD at (208) 327-5211.

- Warranty Surety Requirements – Required to be submitted prior to Certificate of Occupancy. The surety application can be completed online through the Citizen Access Portal.

## Submittal Standards and File Naming Requirements:

### All drawing sheets must be submitted:

- In a PDF format

- In landscape format in the horizontal position

- With a space reserved in the upper left corner for City Approval stamps

- Drawn to scale with each sheet stating the scale

- As individual sheets

- With a file name allowing for easy identification of the drawing content

  - Example: CS – Cover Sheet; SP1 – Site Plan; S4.0 – Structural Roof Framing; E2.0 – Electrical Schedule

- As print ready, i.e., set up properly for printing with title block, no data outside the print page area, etc.

### All documents (non-drawing files) must be submitted:

- As searchable PDF files