# Commercial Electric Vehicle Charging Station (EVCS) submittal checklist and standards

## Submittal Checklist:

### Drawings:

- Site Plan – Must show property lines, exact location of the structure on the property and any existing structures.

- Single Line Electrical Diagram

- Public Stations – Include accessibility provisions, such as clear diagrams and text, demonstrating compliance with state accessibility regulations.

- Panel Upgrade (if required) – Include existing panel size, new panel size, wire sizes and grounding.

### Documents:

- Load Calculations

- Charger Installation Instructions from Manufacturer

### Other Information:

- Mechanical Permit – If ventilation is required, a separate mechanical permit will also be required.

## Submittal Standards and File Naming Requirements:

### All drawing sheets must be submitted:

- With the stamp of an Idaho registered design professional reflected

- In a PDF format

- In landscape format in the horizontal position

- With a space reserved in the upper left corner for City Approval stamps

- Drawn to scale with each sheet stating the scale

- As individual sheets

- With a file name allowing for easy identification of the drawing content

  - Example: CS – Cover Sheet; SP1 – Site Plan; S4.0 – Structural Roof Framing; E2.0 – Electrical Schedule

- As print ready, i.e., set up properly for printing with title block, no data outside the print page area, etc.

### All documents (non-drawing files) must be submitted:

- As searchable PDF files