# Commercial Solar Submittal Checklist and Standards

## Submittal Checklist:

### Drawings:

- PV array configuration

- Grounding

- Wire Management

- Conductors

- Rapid shutdown of PV systems on buildings

- Charge controllers

- Disconnects

- Inverters

- Batteries

## Submittal Standards and File Naming Requirements:

### All drawing sheets must be submitted:

- In a PDF format

- In landscape format in the horizontal position

- With a space reserved in the upper left corner for City Approval stamps

- Drawn to scale with each sheet stating the scale

- As individual sheets

- With a file name allowing for easy identification of the drawing content

  - Example: CS – Cover Sheet; SP1 – Site Plan; S4.0 – Structural Roof Framing; E2.0 – Electrical Schedule

- As print ready, i.e., set up properly for printing with title block, no data outside the print page area, etc.

### All documents (non-drawing files) must be submitted:

- As searchable PDF files